## Slide 1
Connecting tubular tissue to the artificial system!!
Abstract: In this research, we proposed a microfluidic chip to pretreat the samples for genetic analysis of infectious viruses. The microfluidic chip has the following three functions; (1) Virus purification by hydroxyapatite-packed microcolumn, (2) Viral RNA extraction by silica-packed microcolumn, and (3) Capture of the targeted virus genome by PNA-immobilized glass substrate. Each function has been demonstrated separately using microfluidic chips.
Contact Person：Yuka Yamagishi
E-mail: yamagishi.yuka@biorobotics.mech.nagoya-u.ac.jp,
URL: http://www.biorobotics.mech.nagoya-u.ac.jp/
TEL: 052-789-5220, FAX : 052-789-5027
Culture chamber
Reservoir
Centrifugal pump
Flow meter
Pressure
sensor
Background
Observation
Experiments
Concept
Conclusions
Centrifugal
pump
Abstract: We proposed a 3D assembly technique and a circulatory culture system. We succeeded in fabricating multilayer-structured tubular tissues similar to blood vessels and connecting these tubular tissues to the artificial system. Also tubular tissues are circulated and evaluated with the proposed circulatory culture system. These results show that this system could be potentially useful for creating in vitro simulators for drug efficiency evaluation and operative training.
Purpose
・ Connection of tubular tissues with high cell density
to the circulatory culture system
・ Circulation of tubular tissues
Flow meter
Culture chamber
Reservoir
Pressure sensor
Artery Chip
D. E. Ingber et al., Lab on a chip (2010)
Liver Chip
Kidney Chip
Lung Chip
Organs on a chip
1) |  | 
Cell accumulation
FN-G coated cell
Single cell
FN-G coated cell
Layer-by-layer
assembly
: Fibronectin
: Gelatin
Fabricated multilayered tissue
Supporting body
3)
2)
Multilayer structured
tissue
4)
Connection
Circulation
A total of 20 sheets
100 μm
2nd multilayered tissue
1st multilayered tissue
50 μm
100 μm
1 mm
Glass capillary
3 mm
10 mm
Assistive jigs
Supporting body
Green is stained with PKH67, Blue is stained with DAPI
1st multilayered tissue
2nd multilayered tissue
Cross section
1. The tubular tissue was successfully fabricated.(20 Sheets, High cell density, Non-wrinkle)
2. The soft and weak tubular tissues can be connected to the system.
3. The developed system has ability to simulate the tubular tissues in the circulation.
1 mm
5 mm
Evaluation
1 mm
Thin cylinder model
Multilayered tissue
Collagen gel
u : Stretch
p
t : Thickness
u : Stretch[mm]
v : Poisson‘s ratio (0.49)
p : Inner pressure [Pa]
r : First diameter [mm]
t : Thickness [mm]
E : Young‘s modulus [Pa]
Pulse flow
Elastic fiber (rat)
Ref: U. Yokoyama
Soft and weak
tubular tissues
Flowing
CO2, Temperature
Pressure sensor
Mechanical
stimulation unit
Camera
Flow
O2
(NO)
5)
Supporting body
Collagen gel
Assistive jig
6)
Tubular tissue
Connection & Circulation of tubular tissues
Fabrication of multilayer tubular tissues
Biomimetic 3D tubular tissue models
Sheet-like multilayered tissue
Tubular tissue
1 mm
3 mm
Chemical
stimulation unit
Pump
PC
Culture unit
3 mm in diameter
5 mm in length
Sterilization
is available.
Connection & Circulation
Chart: 
2 sec
300 Pa
6
4.5
3
1.5
0
Pressure[×102Pa]
Experiments
Evaluation
1 cycle
1 sec
1 sec
Max
Min
Pump rotation rate
Time [sec]
Pulse flow
Young’s modulus
of tubular tissues
: 130±20 kPa
[rpm]
Medium
7)
Before flow
Tubular tissue
Thickness : 60 μm,
Stretch : 125 μm
S. S.. Bolz et al.,
Lab on a chip
(2010)
Circulatory Culture System for Multilayer-structured Tubular Tissues
1Yuka Yamagishi, 1Taisuke Masuda, 1Natsuki Takei, 2Michiya Matsusaki,
2Mitsuru Akashi, and 1Fumihito Arai
Nagoya University, 2. Osaka University
Acknowledgements：
This work is partially supported by Scientific Research from Ministry of Education, Culture, Sports, Science and Technology (23106002) and the Nagoya University Global COE program for Education and Research of Micro-Nano Mechatronics.
References：
Y. Yamagishi et al., Proceedings of microTAS 2013, pp. 2025-2027, 2013.
Y. Yamagishi et al., Proceedings of MHS 2013, P2-10, 2013.